FAQ Glossary For Direct UPS

Basic formula: V = I (a) x R, Power = V x A = VA, Watt = P.F. (power factor) x VA

- V (Voltage): electrical pressure. In USA V = 120,  In other country such as Europe V = 240

- I: electrical current, A (amp) or (ampere).

- Current: Electrons in motion or speed of electron.

- R (Resistance)

- VA = V x A: UPS sized by VA

- W (Watt): Unit of Power. In DC: Power =Watt = VA,    In AC:  Watt = P.F. x VA

- AC: alternating current is the type of current found in a wall outlet. You plug DVR, TV, and PC into AC.

- DC (direct current): Batteries provide DC

- AVR (Automatic Voltage regulator): adjust incoming voltage by using boost & buck function. Direct UPS VP serial and JP X serial have this device.

- P.F. (power factor): the Ratio of power between AC and DC: PF = Watt/VA

- Transformer: a mechanical device used to increase or decrease voltage

- Power: how quick work can be done. Power is measure by Watt.

How to diagnose the UPS Problem---VP Series

Here is the audible alarm for the UPS.

A. Back up mode: Sounding every 10 seconds

B. Battery low: Sounding every one second

C. Overload: Sounding every 0.5 seconds

D. Battery Replace: Sounding every 2 seconds

E. Fault: Continuous sounding

May we know what is the alarm type that customer found?

A.   It means that the UPS is turned on without AC power. You may check the input    of the UPS.

- It means that the UPS is turned on without AC power and battery capacity is low.

- It means that the load is too big for the UPS

- It means that the battery failed.

- It means that the UPS fails to operate.