4.  INSTALLATION

- Rack-Mount Setup

750/1000/1500/2000VA(optional) and 3000VA can be installed in 19” racks. And the UPS and external battery enclosure need 2U of valuable rack space.  Use the following procedure to install UPS in a rack.

Rack-Tray    Rack-Ear

| SN | Color | Spec | Sketch Map |
| --- | --- | --- | --- |
| ① | Gray | 483*260*77 |  |
| ② | Gray | 75*23*16 |  |
| ③ | Polychrome | M3*12 |  |
| ④ | nickel chrome steel | M4*8 |  |
| ⑤ | nickel chrome steel | M6*16 |  |
| ⑥ | Black | 102*86*22 |  |

750/1000VA(optional)

1. Mount the ②(1ea) onto UPS with ③(2ea) as a UPS sub-assembly.

2.  Lock UPS sub-assembly into ①(1ea) with ④(2ea) to get a UPS assembly.

4.  INSTALLATION

- Install UPS assembly with the ⑤(4ea or 6ea) provided tightened up into rack enclosure.

4.  Add up ⑥(2ea) for both sides. The load can be connected.