Direct UPS

Uninterruptible Power Supply

A. Off Line UPS --- Filter

a. DP series: 400va/600va/1000va. 400/600va has 2 outlets, 1000va has 3 outlets.

Application: PC Only.

b. XP series: 400va/600va – 6 outlets, 3 battery back up, 3 surge protection.

Application: Small PC, Small Entertainment Center

B. Line Interactive UPS = OffLine UPS + AVR (Auto Voltage Regulator):

According its Output:

- Stepwave – VP series

1. Vesta Pro – VP600va/ 800va – 3 outlets.

Application: office workstation & small DVR

2. Vesta Pro – VP 1000va/ 1400va/ 2000va – 4 outlets

Application: small DVR & CCTV, small server, Small Communication/Telecom

- Pure Sinewave:

1. JP series: Regular Back up time – 19” Rack Mount Available.

a. JP 1000va/ 2000va/ 3000va 19” Rack Mount available.

2. JPX series: 19” Rack Mount Available.

a. JPX 750va & JPX 1000va – Regular Back up time.

b. JPX 1500va/ 2000va/ 3000va – Long Back up time capability.

Application for JP 7 JPX: Voice & Data Network, Server, Professional Security application & communication/Telecom with software.

C. On Line UPS: Double Convergent UPS: AC to DC to AC

a. Single Phase: Battery Power, No transferring time, Rack Mount available.

Mars Pro Series: MS 1000va/ 2000va/ 3000va. Spec. Lead time 6 to 10 weeks.

b. Three phases: NA

-------------------------------------------------------------------------------------------------

Surge Protector: 	A. SP6S: Standard surge protector, 90 joules

B. SP6X: with phone protection, 90 joules

C. SP9X w/ phone/modem protection, coaxial cable, 540 joules

D. SP10X with full line of protection, 6,900 joules

-------------------------------------------------------------------------------------------------

Invertor: Direct UPS 1000VA – Application: Trailer, warehouse, etc.

Direct Solar Power:

- PV Inverter 4000W

- Solar Panel a.